## Sheet1
PRIME BUILDING :
SUTHERLAND OBSERVATORY :
ELECTRICAL INSTALLATION : SCHEDULE OF QUANTITIES : FOR PRICING :
18/8/2019
PAGE 1
ITEM | DESCRIPTION | RATE | QTY | TOTAL
1 | PRELIMINARY & GENERAL | 0 | 1 | 0
2 | SMALL POWER
| 16A Normal Switched Socket Outlet Power Point (1 x 3Pin RSA + 1 x 3pin Euro) (220V) | 0 | 7 | 0
| 16A Dedicated Switched Socket Outlet Power Point (220V) | 0 | 7 | 0
| 10A - 15A Japan Socket Outlet Power Point (100V) | 0 | 7 | 0
| 20A Single Phase Isolator Power Point (100V) | 0 | 18 | 0
| 20A Weatherproof Single Phase Isolator Power Point (220V) | 0 | 3 | 0
| 100A Three Phase Isolator Power Point (200V) | 0 | 1 | 0
| 20A Weatherproof Three Phase Isolator Power Point (200V) | 0 | 3 | 0
| 75A Three Phase Isolator Power Point (200V) | 0 | 1 | 0
| 20A Single Phase Isolator Power Point (220V) Fans | 0 | 2 | 0
| 3Compartment PVC Powerskirting | 0 | 40 | 0
3 | LIGHTING
| 1.5m x 2Lamp (2 x22W) Enclosed LED Fluorescent Light Point | 0 | 16 | 0
| 8.5W LED Downlighter Light Point | 0 | 2 | 0
| 8.5W LED Bulkhead Light Point | 0 | 7 | 0
| 1Lever 1Way Switch Point | 0 | 1 | 0
| 1Lever 2Way Switch Point | 0 | 4 | 0
| 2Lever 1 x 1Way + 1 x 2Way Switch Point | 0 | 1 | 0
| P2000 Unistrut with PVC lids | 0 | 17 | 0
4 | PC AMOUNTS
| Light Fittings PC Amount | 15000 | 1 | 15000
| Three Phase 400/200V Transformer PC Amount | 500000 | 1 | 500000
| Three Phase 400/200V UPS PC Amount | 350000 | 1 | 350000
| Three Phase Main Distribution Board PC Amount | 100000 | 1 | 100000
| Three Phase Distribution Board Feeder Cable PC Amount | BY CLIENT | 1 | BY CLIENT
| Three Phase Distribution Board Feeder Cable Terminations PC Amount | BY CLIENT | 1 | BY CLIENT
| Main Earthing | 10000 | 1 | 10000
5 | TOTAL EXCLUDING VAT |  |  | 0
6 | VAT |  |  | 0
7 | TOTAL INCLUDING VAT |  |  | 0

## Cost for BID
Electrical Work Pricing NRF/SAAO/2018/021
ITEM | DESCRIPTION | RATE | QTY | TOTAL
1 | PRELIMINARY & GENERAL | R | 1 | R
2 | SMALL POWER
| 16A Normal Switched Socket Outlet Power Point (1 x 3Pin RSA + 1 x 3pin Euro) (220V) | R | 7 | R
| 16A Dedicated Switched Socket Outlet Power Point (220V) | R | 7 | R
| 10A - 15A Japan Socket Outlet Power Point (100V) | R | 7 | R
| 20A Single Phase Isolator Power Point (100V) | R | 18 | R
| 20A Weatherproof Single Phase Isolator Power Point (220V) | R | 3 | R
| 100A Three Phase Isolator Power Point (200V) | R | 1 | R
| 20A Weatherproof Three Phase Isolator Power Point (200V) | R | 3 | R
| 75A Three Phase Isolator Power Point (200V) | R | 1 | R
| 20A Single Phase Isolator Power Point (220V) Fans | R | 2 | R
| 3Compartment PVC Powerskirting | R | 40 | R
3 | LIGHTING
| 1.5m x 2Lamp (2 x22W) Enclosed LED Fluorescent Light Point | R | 16 | R
| 8.5W LED Downlighter Light Point | R | 2 | R
| 8.5W LED Bulkhead Light Point | R | 7 | R
| 1Lever 1Way Switch Point | R | 1 | R
| 1Lever 2Way Switch Point | R | 4 | R
| 2Lever 1 x 1Way + 1 x 2Way Switch Point | R | 1 | R
| P2000 Unistrut with PVC lids | R | 17 | R
4 | PC AMOUNTS
| Light Fittings PC Amount | 15000 | 1 | 15000
| Three Phase 400/200V Transformer PC Amount | 500000 | 1 | 500000
| Three Phase 400/200V UPS PC Amount | 350000 | 1 | 350000
| Three Phase Main Distribution Board PC Amount | 100000 | 1 | 100000
| Three Phase Distribution Board Feeder Cable PC Amount | BY CLIENT | 1 | BY CLIENT
| Three Phase Distribution Board Feeder Cable Terminations PC Amount | BY CLIENT | 1 | BY CLIENT
| Main Earthing | 10000 | 1 | 10000
5 | TOTAL INCLUDING VAT |  | R