## Slide 1
  South African Astronomical Observatory
  The IO programme
  Sprint #21 Review
  Moloko Hlakola, Hannah Worters, Carel van Gend, Nicolas Erasmus, Roufurd Julie, Sunil Chandra, Stephen Potter

## Slide 2
Sprint Updates
Non-sidereal spectroscopy
Biases and flats
OCS time accounting
Dashboard
Weather service
74inch instrument selector port

## Slide 3
Dashboard

## Slide 4
Weather Service

## Slide 5
Weather Service

## Slide 7
Sprint Updates
Non-sidereal spectroscopy
Biases and flats
OCS time accounting
Dashboard
Weather service
74inch instrument selector port

## Slide 8
74inch instrument selector port

## Slide 11
Upgrade highlights
- The new XYslides has a significantly larger sky access than the old system. Old system was limited to 10x10 arc mins. New one seems to be 15x15 arc mins
- The guide camera image quality is superior to the old one. Stars more round/symmetric for the whole XY slide search area
- The new lodestar guide camera has better sensitivity than the Ultrastar camera
- New XYslides move much faster than the old slides
- New guider focus mechanism is much more repeatable and much faster than the old system
- New guiding algorithm (python source extractor) appears to be better at guide star detection than the older algorithm
- XYslide coordinates are now mapped to DSS image coordinates .. so clicky clicky on guide star will automatically send XY coords to TCS
- So far no signs of relative flexure between slit and red box on guide camera ... more extreme slewing tests needed to test further

## Slide 12
Conferences
HEASA2023
Gaia2023 alerts + ORP
ICALEPCS2023
BRICSAWG2023
AstroRob2023